## Read me
Laboratory Instrument Register and Utilization, March–August 2026
Loblolly Ridge Therapeutics
Effective date | 2026-09-10
Purpose | Instrument register with maintenance data and weekly available, booked, used and down hours for 20 bookable instruments.
Coverage | See each dataset dictionary and summary. Missing numeric values are excluded, not zero.
Summary interpretation | Descriptive statistics of selected records only. Totals of percentages and adjustment values are not operating KPIs.
Introduction | Register of the 68 laboratory instruments and weekly utilization of the 20 bookable instruments from March 2 to August 28, 2026. Prepared by Lab Operations to support the bioanalytical capacity review.
Contents | Data 1 – instrument register: type, laboratory area, bookable flag, installation date, last preventive maintenance, maintenance interval, service vendor and status for all 68 instruments.
Contents | Data 2 – instrument-week utilization: 520 records, one per bookable instrument per week, with capacity, available, booked, used and downtime hours and the number of runs.
Hour definitions | Available hours: scheduled hours the instrument could run in the week. For each of the two LC-MS/MS triple-quadrupole systems this includes the unattended overnight queue, about 100 hours a week; holiday weeks are lower.
Hour definitions | Downtime hours: recorded breakdown, repair and maintenance time.
Hour definitions | Capacity hours: available hours minus downtime. Utilization is measured against capacity hours.
Hour definitions | Booked hours: hours reserved in the instrument calendar or the overnight queue.
Hour definitions | Used hours: hours with a run logged on the instrument.
Utilization | Utilization is not precomputed. Divide booked or used hours by capacity hours for the period you need. From June to August the two LC-MS/MS systems were booked for 91% and used for 84% of capacity, up from 74% booked and 67% used from March to May. The other 18 bookable instruments were used for 48% of capacity from June to August.
Downtime | Recorded downtime across the 20 bookable instruments was 265 hours from March to August, including 58 hours on INS-002 in July for an ion-source repair spread over two weeks.
Maintenance | Preventive maintenance intervals are 6 or 12 months by instrument type. Maintenance dates are copied from the Lab Operations spreadsheet and vendor portals, which remain the records of maintenance and calibration.
Not recorded here | Booking-level user names and instrument purchase prices.

## Summary
Dataset | Measure | Unit | Total | Mean | Records | Period start | Period end
Laboratory instrument register | pm_interval_months | months | 756 | 11.1176 | 68 | 2014-01-01 | 2026-08-31
Instrument-week utilization | used_hours | hours | 13954.2 | 26.835 | 520 | 2026-03-02 | 2026-08-28
Instrument-week utilization | available_hours | hours | 27412.5 | 52.7163 | 520 | 2026-03-02 | 2026-08-28
Instrument-week utilization | downtime_hours | hours | 264.8 | 0.50923 | 520 | 2026-03-02 | 2026-08-28
Instrument-week utilization | capacity_hours | hours | 27147.7 | 52.2071 | 520 | 2026-03-02 | 2026-08-28
Instrument-week utilization | booked_hours | hours | 15230 | 29.2885 | 520 | 2026-03-02 | 2026-08-28
Instrument-week utilization | runs | runs | 4626 | 8.8962 | 520 | 2026-03-02 | 2026-08-28

## Dictionary
Dataset | Field | Definition | Unit | Type | Reference
Laboratory instrument register | instrument_id | Instrument id |  | id
Laboratory instrument register | pm_interval_months | Preventive-maintenance interval | months | integer
Laboratory instrument register | instrument_type | Instrument type |  | category
Laboratory instrument register | lab_area | Lab area |  | category
Laboratory instrument register | bookable | Bookable |  | category
Laboratory instrument register | install_date | Install date |  | date
Laboratory instrument register | last_pm | Last pm |  | category
Laboratory instrument register | service_vendor | Service vendor |  | category
Laboratory instrument register | status | Status |  | category
Instrument-week utilization | record_id | Record id |  | id
Instrument-week utilization | used_hours | Hours used | hours | number
Instrument-week utilization | instrument_id | Instrument id |  | category
Instrument-week utilization | instrument_type | Instrument type |  | category
Instrument-week utilization | week_start | Week start |  | date
Instrument-week utilization | available_hours | Scheduled available hours | hours | number
Instrument-week utilization | downtime_hours | Maintenance or breakdown hours | hours | number
Instrument-week utilization | capacity_hours | Available minus downtime | hours | number
Instrument-week utilization | booked_hours | Hours booked in the calendar | hours | number
Instrument-week utilization | runs | Runs or sessions | runs | integer

## Data 1
instrument_id | pm_interval_months | instrument_type | lab_area | bookable | install_date | last_pm | service_vendor | status
INS-001 | 6 | LC-MS/MS triple quadrupole | bioanalytical & analytical | yes | 2019-08-12 | 2026-07-23 | V-023 | in service
INS-002 | 6 | LC-MS/MS triple quadrupole | bioanalytical & analytical | yes | 2022-03-07 | 2026-07-30 | V-023 | in service
INS-003 | 6 | high-resolution MS | bioanalytical & analytical | yes | 2025-04-17 | 2026-04-20 | V-023 | in service
INS-004 | 6 | UPLC | bioanalytical & analytical | yes | 2021-12-30 | 2026-06-29 | V-024 | in service
INS-005 | 6 | UPLC | bioanalytical & analytical | yes | 2017-05-10 | 2026-07-21 | V-024 | in service
INS-006 | 6 | UPLC | bioanalytical & analytical | yes | 2022-04-06 | 2026-07-30 | V-024 | in service
INS-007 | 12 | plate reader | assay development | yes | 2016-04-01 | 2025-12-05 | V-024 | in service
INS-008 | 12 | plate reader | assay development | yes | 2022-06-11 | 2025-12-09 | V-024 | in service
INS-009 | 12 | plate reader | assay development | yes | 2015-05-26 | 2026-05-26 | V-024 | in service
INS-010 | 12 | plate reader | assay development | yes | 2016-12-14 | 2026-01-19 | V-024 | in service
INS-011 | 6 | liquid handler | assay development | yes | 2016-03-08 | 2026-07-05 | V-025 | in service
INS-012 | 6 | liquid handler | assay development | yes | 2020-09-26 | 2026-08-11 | V-025 | in service
INS-013 | 6 | liquid handler | assay development | yes | 2021-04-15 | 2026-07-24 | V-025 | in service
INS-014 | 6 | flow cytometer | cell biology | yes | 2018-08-12 | 2026-04-29 | V-024 | in service
INS-015 | 12 | automated imager | cell biology | yes | 2016-08-21 | 2025-10-13 | V-024 | in service
INS-016 | 12 | automated imager | cell biology | yes | 2015-10-21 | 2026-03-03 | V-024 | in service
INS-017 | 12 | qPCR | cell biology | yes | 2016-01-10 | 2026-05-22 | V-024 | in service
INS-018 | 12 | qPCR | cell biology | yes | 2015-01-26 | 2026-04-08 | V-024 | in service
INS-019 | 12 | HPLC | chemistry support | yes | 2023-10-28 | 2026-02-14 | V-024 | in service
INS-020 | 12 | HPLC | chemistry support | yes | 2025-03-01 | 2026-04-12 | V-024 | in service
INS-021 | 12 | biosafety cabinet | cell biology | no | 2023-07-23 | 2026-03-06 | V-024 | in service
INS-022 | 12 | biosafety cabinet | cell biology | no | 2018-10-08 | 2026-05-06 | V-024 | in service
INS-023 | 12 | biosafety cabinet | cell biology | no | 2017-03-24 | 2026-07-30 | V-024 | in service
INS-024 | 12 | biosafety cabinet | cell biology | no | 2018-12-19 | 2026-04-20 | V-024 | in service
INS-025 | 12 | biosafety cabinet | cell biology | no | 2016-08-13 | 2026-07-20 | V-024 | in service
INS-026 | 12 | biosafety cabinet | cell biology | no | 2025-07-05 | 2026-04-08 | V-024 | in service
INS-027 | 12 | biosafety cabinet | cell biology | no | 2017-01-05 | 2025-11-21 | V-024 | in service
INS-028 | 12 | biosafety cabinet | cell biology | no | 2017-12-11 | 2026-08-06 | V-024 | in service
INS-029 | 12 | biosafety cabinet | cell biology | no | 2024-10-05 | 2026-03-03 | V-024 | in service
INS-030 | 12 | biosafety cabinet | cell biology | no | 2025-07-24 | 2026-04-28 | V-024 | in service
INS-031 | 12 | CO2 incubator | cell biology | no | 2014-03-04 | 2026-07-02 | V-024 | in service
INS-032 | 12 | CO2 incubator | cell biology | no | 2015-07-01 | 2025-11-24 | V-024 | in service
INS-033 | 12 | CO2 incubator | cell biology | no | 2022-06-29 | 2025-12-15 | V-024 | in service
INS-034 | 12 | CO2 incubator | cell biology | no | 2023-08-31 | 2025-11-08 | V-024 | in service
INS-035 | 12 | CO2 incubator | cell biology | no | 2018-11-15 | 2025-10-18 | V-024 | in service
INS-036 | 12 | CO2 incubator | cell biology | no | 2025-01-22 | 2025-11-30 | V-024 | in service
INS-037 | 12 | CO2 incubator | cell biology | no | 2020-05-19 | 2025-11-16 | V-024 | in service
INS-038 | 12 | CO2 incubator | cell biology | no | 2022-12-27 | 2025-12-07 | V-024 | in service
INS-039 | 12 | CO2 incubator | cell biology | no | 2024-12-21 | 2026-03-22 | V-024 | in service
INS-040 | 12 | CO2 incubator | cell biology | no | 2019-01-15 | 2026-07-19 | V-024 | in service
INS-041 | 12 | CO2 incubator | cell biology | no | 2020-02-22 | 2025-12-18 | V-024 | in service
INS-042 | 12 | CO2 incubator | cell biology | no | 2019-07-06 | 2026-08-26 | V-024 | in service
INS-043 | 12 | -80 C freezer | shared equipment | no | 2020-03-18 | 2025-10-29 | V-029 | in service
INS-044 | 12 | -80 C freezer | shared equipment | no | 2014-12-15 | 2026-08-24 | V-029 | in service
INS-045 | 12 | -80 C freezer | shared equipment | no | 2015-04-13 | 2025-11-29 | V-029 | in service
INS-046 | 12 | -80 C freezer | shared equipment | no | 2017-01-20 | 2026-09-07 | V-029 | in service
INS-047 | 12 | -80 C freezer | shared equipment | no | 2021-08-26 | 2026-07-12 | V-029 | in service
INS-048 | 12 | -80 C freezer | shared equipment | no | 2016-06-28 | 2026-05-27 | V-029 | in service
INS-049 | 12 | -80 C freezer | shared equipment | no | 2025-08-18 | 2025-11-10 | V-029 | in service
INS-050 | 12 | -80 C freezer | shared equipment | no | 2014-12-01 | 2026-05-04 | V-029 | in service
INS-051 | 12 | -80 C freezer | shared equipment | no | 2018-06-05 | 2026-05-30 | V-029 | in service
INS-052 | 12 | -80 C freezer | shared equipment | no | 2017-08-06 | 2025-12-25 | V-029 | in service
INS-053 | 12 | -80 C freezer | shared equipment | no | 2023-08-03 | 2026-05-18 | V-029 | retired
INS-054 | 12 | centrifuge | shared equipment | no | 2021-01-12 | 2026-02-24 | V-024 | in service
INS-055 | 12 | centrifuge | shared equipment | no | 2021-01-09 | 2026-05-22 | V-024 | in service
INS-056 | 12 | centrifuge | shared equipment | no | 2015-05-15 | 2026-08-30 | V-024 | in service
INS-057 | 12 | centrifuge | shared equipment | no | 2016-11-16 | 2026-08-24 | V-024 | in service
INS-058 | 12 | centrifuge | shared equipment | no | 2017-01-03 | 2026-05-06 | V-024 | in service
INS-059 | 12 | centrifuge | shared equipment | no | 2019-04-22 | 2026-05-19 | V-024 | in service
INS-060 | 12 | centrifuge | shared equipment | no | 2023-03-13 | 2026-08-10 | V-024 | out of service
INS-061 | 12 | analytical balance | shared equipment | no | 2014-08-31 | 2026-06-21 | V-024 | in service
INS-062 | 12 | analytical balance | shared equipment | no | 2014-11-02 | 2026-05-01 | V-024 | in service
INS-063 | 12 | analytical balance | shared equipment | no | 2020-09-21 | 2026-03-24 | V-024 | in service
INS-064 | 12 | analytical balance | shared equipment | no | 2016-07-16 | 2025-12-06 | V-024 | in service
INS-065 | 12 | analytical balance | shared equipment | no | 2016-11-27 | 2026-03-29 | V-024 | in service
INS-066 | 12 | analytical balance | shared equipment | no | 2025-08-20 | 2026-07-04 | V-024 | in service
INS-067 | 12 | analytical balance | shared equipment | no | 2015-01-09 | 2025-12-29 | V-024 | in service
INS-068 | 12 | analytical balance | shared equipment | no | 2022-03-09 | 2026-01-31 | V-024 | in service

## Data 2
record_id | used_hours | instrument_id | instrument_type | week_start | available_hours | downtime_hours | capacity_hours | booked_hours | runs
IW-0001 | 72.9 | INS-001 | LC-MS/MS triple quadrupole | 2026-03-02 | 100 | 0 | 100 | 75.9 | 8
IW-0002 | 67.5 | INS-001 | LC-MS/MS triple quadrupole | 2026-03-09 | 100 | 0 | 100 | 77.7 | 8
IW-0003 | 71.8 | INS-001 | LC-MS/MS triple quadrupole | 2026-03-16 | 100 | 0 | 100 | 78.6 | 8
IW-0004 | 67.6 | INS-001 | LC-MS/MS triple quadrupole | 2026-03-23 | 100 | 0 | 100 | 75.5 | 8
IW-0005 | 63.4 | INS-001 | LC-MS/MS triple quadrupole | 2026-03-30 | 90 | 1.7 | 88.3 | 69.3 | 7
IW-0006 | 65 | INS-001 | LC-MS/MS triple quadrupole | 2026-04-06 | 100 | 0.7 | 99.3 | 71.7 | 7
IW-0007 | 59.4 | INS-001 | LC-MS/MS triple quadrupole | 2026-04-13 | 100 | 0 | 100 | 67.8 | 7
IW-0008 | 73.1 | INS-001 | LC-MS/MS triple quadrupole | 2026-04-20 | 100 | 0.3 | 99.7 | 76.6 | 8
IW-0009 | 72.9 | INS-001 | LC-MS/MS triple quadrupole | 2026-04-27 | 100 | 0 | 100 | 75.5 | 8
IW-0010 | 64.3 | INS-001 | LC-MS/MS triple quadrupole | 2026-05-04 | 100 | 0 | 100 | 71 | 7
IW-0011 | 64.7 | INS-001 | LC-MS/MS triple quadrupole | 2026-05-11 | 100 | 0 | 100 | 67.3 | 7
IW-0012 | 65.6 | INS-001 | LC-MS/MS triple quadrupole | 2026-05-18 | 100 | 6 | 94 | 74.4 | 7
IW-0013 | 48.5 | INS-001 | LC-MS/MS triple quadrupole | 2026-05-25 | 80 | 0 | 80 | 54.1 | 5
IW-0014 | 80 | INS-001 | LC-MS/MS triple quadrupole | 2026-06-01 | 100 | 0 | 100 | 88.9 | 9
IW-0015 | 89 | INS-001 | LC-MS/MS triple quadrupole | 2026-06-08 | 100 | 0 | 100 | 96.4 | 10
IW-0016 | 84.7 | INS-001 | LC-MS/MS triple quadrupole | 2026-06-15 | 100 | 0 | 100 | 92.9 | 9
IW-0017 | 86.1 | INS-001 | LC-MS/MS triple quadrupole | 2026-06-22 | 100 | 0 | 100 | 94.7 | 10
IW-0018 | 58.3 | INS-001 | LC-MS/MS triple quadrupole | 2026-06-29 | 80 | 0 | 80 | 67 | 6
IW-0019 | 84.8 | INS-001 | LC-MS/MS triple quadrupole | 2026-07-06 | 100 | 0 | 100 | 88.8 | 9
IW-0020 | 87 | INS-001 | LC-MS/MS triple quadrupole | 2026-07-13 | 100 | 0.2 | 99.8 | 95 | 10
IW-0021 | 82.8 | INS-001 | LC-MS/MS triple quadrupole | 2026-07-20 | 100 | 1.1 | 98.9 | 85.4 | 9
IW-0022 | 83.1 | INS-001 | LC-MS/MS triple quadrupole | 2026-07-27 | 100 | 6.6 | 93.4 | 86 | 9
IW-0023 | 91.1 | INS-001 | LC-MS/MS triple quadrupole | 2026-08-03 | 100 | 0 | 100 | 97.8 | 10
IW-0024 | 89.6 | INS-001 | LC-MS/MS triple quadrupole | 2026-08-10 | 100 | 0 | 100 | 93.5 | 10
IW-0025 | 73.3 | INS-001 | LC-MS/MS triple quadrupole | 2026-08-17 | 100 | 0 | 100 | 83.1 | 8
IW-0026 | 83 | INS-001 | LC-MS/MS triple quadrupole | 2026-08-24 | 100 | 0.8 | 99.2 | 92.4 | 9
IW-0027 | 59.3 | INS-002 | LC-MS/MS triple quadrupole | 2026-03-02 | 100 | 0 | 100 | 68.5 | 7
IW-0028 | 65.8 | INS-002 | LC-MS/MS triple quadrupole | 2026-03-09 | 100 | 0 | 100 | 73.1 | 7
IW-0029 | 69.8 | INS-002 | LC-MS/MS triple quadrupole | 2026-03-16 | 100 | 0 | 100 | 74.8 | 8
IW-0030 | 65.9 | INS-002 | LC-MS/MS triple quadrupole | 2026-03-23 | 100 | 0.2 | 99.8 | 73.8 | 7
IW-0031 | 65.1 | INS-002 | LC-MS/MS triple quadrupole | 2026-03-30 | 90 | 0.5 | 89.5 | 67.4 | 7
IW-0032 | 73.4 | INS-002 | LC-MS/MS triple quadrupole | 2026-04-06 | 100 | 1.9 | 98.1 | 77.9 | 8
IW-0033 | 65 | INS-002 | LC-MS/MS triple quadrupole | 2026-04-13 | 100 | 0 | 100 | 73.6 | 7
IW-0034 | 59.5 | INS-002 | LC-MS/MS triple quadrupole | 2026-04-20 | 100 | 0 | 100 | 67.4 | 7
IW-0035 | 70.6 | INS-002 | LC-MS/MS triple quadrupole | 2026-04-27 | 100 | 0 | 100 | 79.2 | 8
IW-0036 | 63.4 | INS-002 | LC-MS/MS triple quadrupole | 2026-05-04 | 100 | 0 | 100 | 68.3 | 7
IW-0037 | 64.9 | INS-002 | LC-MS/MS triple quadrupole | 2026-05-11 | 100 | 0 | 100 | 74.3 | 7
IW-0038 | 63.1 | INS-002 | LC-MS/MS triple quadrupole | 2026-05-18 | 100 | 0 | 100 | 69.9 | 7
IW-0039 | 52 | INS-002 | LC-MS/MS triple quadrupole | 2026-05-25 | 80 | 6.4 | 73.6 | 56 | 6
IW-0040 | 76.7 | INS-002 | LC-MS/MS triple quadrupole | 2026-06-01 | 100 | 0 | 100 | 88.3 | 9
IW-0041 | 81.6 | INS-002 | LC-MS/MS triple quadrupole | 2026-06-08 | 100 | 0 | 100 | 89.6 | 9
IW-0042 | 83.2 | INS-002 | LC-MS/MS triple quadrupole | 2026-06-15 | 100 | 2.5 | 97.5 | 86 | 9
IW-0043 | 93.3 | INS-002 | LC-MS/MS triple quadrupole | 2026-06-22 | 100 | 1.5 | 98.5 | 96.7 | 10
IW-0044 | 65.9 | INS-002 | LC-MS/MS triple quadrupole | 2026-06-29 | 80 | 0 | 80 | 70 | 7
IW-0045 | 86 | INS-002 | LC-MS/MS triple quadrupole | 2026-07-06 | 100 | 0 | 100 | 95.9 | 10
IW-0046 | 56.9 | INS-002 | LC-MS/MS triple quadrupole | 2026-07-13 | 100 | 34 | 66 | 61.8 | 6
IW-0047 | 61.9 | INS-002 | LC-MS/MS triple quadrupole | 2026-07-20 | 100 | 24 | 76 | 70.3 | 7
IW-0048 | 81.2 | INS-002 | LC-MS/MS triple quadrupole | 2026-07-27 | 100 | 2.5 | 97.5 | 89.4 | 9
IW-0049 | 84.7 | INS-002 | LC-MS/MS triple quadrupole | 2026-08-03 | 100 | 0 | 100 | 97.7 | 9
IW-0050 | 87.9 | INS-002 | LC-MS/MS triple quadrupole | 2026-08-10 | 100 | 0 | 100 | 90.9 | 10
IW-0051 | 80.9 | INS-002 | LC-MS/MS triple quadrupole | 2026-08-17 | 100 | 0 | 100 | 83.6 | 9
IW-0052 | 83.2 | INS-002 | LC-MS/MS triple quadrupole | 2026-08-24 | 100 | 0 | 100 | 91.1 | 9
IW-0053 | 30.6 | INS-003 | high-resolution MS | 2026-03-02 | 60 | 0.6 | 59.4 | 33 | 4
IW-0054 | 29.9 | INS-003 | high-resolution MS | 2026-03-09 | 60 | 5 | 55 | 33.3 | 4
IW-0055 | 31.3 | INS-003 | high-resolution MS | 2026-03-16 | 60 | 0.8 | 59.2 | 32.8 | 4
IW-0056 | 32.1 | INS-003 | high-resolution MS | 2026-03-23 | 60 | 1.2 | 58.8 | 35.2 | 5
IW-0057 | 29 | INS-003 | high-resolution MS | 2026-03-30 | 54 | 0.8 | 53.2 | 31.5 | 4
IW-0058 | 35 | INS-003 | high-resolution MS | 2026-04-06 | 60 | 0 | 60 | 37.6 | 5
IW-0059 | 33.3 | INS-003 | high-resolution MS | 2026-04-13 | 60 | 0 | 60 | 34.7 | 5
IW-0060 | 34.2 | INS-003 | high-resolution MS | 2026-04-20 | 60 | 0.1 | 59.9 | 36.6 | 5
IW-0061 | 33 | INS-003 | high-resolution MS | 2026-04-27 | 60 | 0 | 60 | 35 | 5
IW-0062 | 33.5 | INS-003 | high-resolution MS | 2026-05-04 | 60 | 0 | 60 | 35.6 | 5
IW-0063 | 32.5 | INS-003 | high-resolution MS | 2026-05-11 | 60 | 2.4 | 57.6 | 35.5 | 5
IW-0064 | 29.2 | INS-003 | high-resolution MS | 2026-05-18 | 60 | 0 | 60 | 32.8 | 4
IW-0065 | 22.3 | INS-003 | high-resolution MS | 2026-05-25 | 48 | 0 | 48 | 25.6 | 3
IW-0066 | 32.9 | INS-003 | high-resolution MS | 2026-06-01 | 60 | 0 | 60 | 35.8 | 5
IW-0067 | 34.6 | INS-003 | high-resolution MS | 2026-06-08 | 60 | 0 | 60 | 36.2 | 5
IW-0068 | 34.8 | INS-003 | high-resolution MS | 2026-06-15 | 60 | 0 | 60 | 38.2 | 5
IW-0069 | 34.2 | INS-003 | high-resolution MS | 2026-06-22 | 60 | 4.5 | 55.5 | 37.3 | 5
IW-0070 | 28.8 | INS-003 | high-resolution MS | 2026-06-29 | 48 | 0 | 48 | 31.8 | 4
IW-0071 | 37.2 | INS-003 | high-resolution MS | 2026-07-06 | 60 | 0 | 60 | 41.5 | 5
IW-0072 | 33.4 | INS-003 | high-resolution MS | 2026-07-13 | 60 | 0 | 60 | 35.5 | 5
IW-0073 | 37.5 | INS-003 | high-resolution MS | 2026-07-20 | 60 | 0 | 60 | 40.3 | 5
IW-0074 | 33.5 | INS-003 | high-resolution MS | 2026-07-27 | 60 | 0 | 60 | 37.5 | 5
IW-0075 | 33.3 | INS-003 | high-resolution MS | 2026-08-03 | 60 | 0 | 60 | 35.6 | 5
IW-0076 | 33.5 | INS-003 | high-resolution MS | 2026-08-10 | 60 | 0 | 60 | 37.3 | 5
IW-0077 | 38.1 | INS-003 | high-resolution MS | 2026-08-17 | 60 | 0.8 | 59.2 | 41.6 | 5
IW-0078 | 32.9 | INS-003 | high-resolution MS | 2026-08-24 | 60 | 0.2 | 59.8 | 36 | 5
IW-0079 | 24.1 | INS-004 | UPLC | 2026-03-02 | 50 | 0.1 | 49.9 | 25.2 | 5
IW-0080 | 23.1 | INS-004 | UPLC | 2026-03-09 | 50 | 0 | 50 | 24.8 | 5
IW-0081 | 24.9 | INS-004 | UPLC | 2026-03-16 | 50 | 0 | 50 | 28 | 5
IW-0082 | 24.1 | INS-004 | UPLC | 2026-03-23 | 50 | 0 | 50 | 24.9 | 5
IW-0083 | 19.3 | INS-004 | UPLC | 2026-03-30 | 45 | 0 | 45 | 22.2 | 4
IW-0084 | 25.5 | INS-004 | UPLC | 2026-04-06 | 50 | 0 | 50 | 27.4 | 5
IW-0085 | 26.6 | INS-004 | UPLC | 2026-04-13 | 50 | 0 | 50 | 27.6 | 5
IW-0086 | 24 | INS-004 | UPLC | 2026-04-20 | 50 | 0 | 50 | 25.2 | 5
IW-0087 | 23.3 | INS-004 | UPLC | 2026-04-27 | 50 | 0.2 | 49.8 | 24.7 | 5
IW-0088 | 23.8 | INS-004 | UPLC | 2026-05-04 | 50 | 0 | 50 | 26.5 | 5
IW-0089 | 23.4 | INS-004 | UPLC | 2026-05-11 | 50 | 0 | 50 | 25.1 | 5
IW-0090 | 26.4 | INS-004 | UPLC | 2026-05-18 | 50 | 0 | 50 | 27.4 | 5
IW-0091 | 18.8 | INS-004 | UPLC | 2026-05-25 | 40 | 0 | 40 | 19.6 | 4
IW-0092 | 25.9 | INS-004 | UPLC | 2026-06-01 | 50 | 0 | 50 | 28.4 | 5
IW-0093 | 24.7 | INS-004 | UPLC | 2026-06-08 | 50 | 2.2 | 47.8 | 26 | 5
IW-0094 | 26.2 | INS-004 | UPLC | 2026-06-15 | 50 | 0 | 50 | 28.9 | 5
IW-0095 | 27.2 | INS-004 | UPLC | 2026-06-22 | 50 | 0 | 50 | 29 | 5
IW-0096 | 19.4 | INS-004 | UPLC | 2026-06-29 | 40 | 3.6 | 36.4 | 22.5 | 4
IW-0097 | 27.7 | INS-004 | UPLC | 2026-07-06 | 50 | 0 | 50 | 29.2 | 6
IW-0098 | 26.9 | INS-004 | UPLC | 2026-07-13 | 50 | 0 | 50 | 30.1 | 5
IW-0099 | 26.4 | INS-004 | UPLC | 2026-07-20 | 50 | 0 | 50 | 29.3 | 5
IW-0100 | 25.5 | INS-004 | UPLC | 2026-07-27 | 50 | 0 | 50 | 28.6 | 5
IW-0101 | 25 | INS-004 | UPLC | 2026-08-03 | 50 | 0 | 50 | 27.1 | 5
IW-0102 | 27.6 | INS-004 | UPLC | 2026-08-10 | 50 | 0 | 50 | 29 | 6
IW-0103 | 23.9 | INS-004 | UPLC | 2026-08-17 | 50 | 0 | 50 | 27.1 | 5
IW-0104 | 28.4 | INS-004 | UPLC | 2026-08-24 | 50 | 0 | 50 | 29.6 | 6
IW-0105 | 24.5 | INS-005 | UPLC | 2026-03-02 | 50 | 0 | 50 | 25.3 | 5
IW-0106 | 24.6 | INS-005 | UPLC | 2026-03-09 | 50 | 0 | 50 | 28.1 | 5
IW-0107 | 24.7 | INS-005 | UPLC | 2026-03-16 | 50 | 0 | 50 | 27.6 | 5
IW-0108 | 25.9 | INS-005 | UPLC | 2026-03-23 | 50 | 0 | 50 | 26.7 | 5
IW-0109 | 20.3 | INS-005 | UPLC | 2026-03-30 | 45 | 0 | 45 | 21.8 | 4
IW-0110 | 20.7 | INS-005 | UPLC | 2026-04-06 | 50 | 0.3 | 49.7 | 23.6 | 4
IW-0111 | 21.8 | INS-005 | UPLC | 2026-04-13 | 50 | 0 | 50 | 25.2 | 4
IW-0112 | 21.9 | INS-005 | UPLC | 2026-04-20 | 50 | 1.9 | 48.1 | 25.4 | 4
IW-0113 | 26.2 | INS-005 | UPLC | 2026-04-27 | 50 | 0.1 | 49.9 | 27.6 | 5
IW-0114 | 21.5 | INS-005 | UPLC | 2026-05-04 | 50 | 0 | 50 | 23.6 | 4
IW-0115 | 22.2 | INS-005 | UPLC | 2026-05-11 | 50 | 0 | 50 | 23.7 | 4
IW-0116 | 25.4 | INS-005 | UPLC | 2026-05-18 | 50 | 0 | 50 | 26.7 | 5
IW-0117 | 18.6 | INS-005 | UPLC | 2026-05-25 | 40 | 0 | 40 | 19.8 | 4
IW-0118 | 24.9 | INS-005 | UPLC | 2026-06-01 | 50 | 0 | 50 | 27.7 | 5
IW-0119 | 25 | INS-005 | UPLC | 2026-06-08 | 50 | 0 | 50 | 28.7 | 5
IW-0120 | 26.3 | INS-005 | UPLC | 2026-06-15 | 50 | 0 | 50 | 28.6 | 5
IW-0121 | 22.8 | INS-005 | UPLC | 2026-06-22 | 50 | 1.1 | 48.9 | 25.8 | 5
IW-0122 | 21.9 | INS-005 | UPLC | 2026-06-29 | 40 | 0 | 40 | 22.6 | 4
IW-0123 | 27.7 | INS-005 | UPLC | 2026-07-06 | 50 | 0 | 50 | 30.4 | 6
IW-0124 | 24.4 | INS-005 | UPLC | 2026-07-13 | 50 | 0 | 50 | 27.8 | 5
IW-0125 | 22.7 | INS-005 | UPLC | 2026-07-20 | 50 | 0 | 50 | 26 | 5
IW-0126 | 24.7 | INS-005 | UPLC | 2026-07-27 | 50 | 2.1 | 47.9 | 27.3 | 5
IW-0127 | 25.9 | INS-005 | UPLC | 2026-08-03 | 50 | 1.4 | 48.6 | 29.3 | 5
IW-0128 | 28.4 | INS-005 | UPLC | 2026-08-10 | 50 | 0 | 50 | 30.9 | 6
IW-0129 | 27.5 | INS-005 | UPLC | 2026-08-17 | 50 | 0 | 50 | 30.4 | 6
IW-0130 | 24.5 | INS-005 | UPLC | 2026-08-24 | 50 | 0.8 | 49.2 | 28.1 | 5
IW-0131 | 22.6 | INS-006 | UPLC | 2026-03-02 | 50 | 0.3 | 49.7 | 26.2 | 5
IW-0132 | 23 | INS-006 | UPLC | 2026-03-09 | 50 | 0 | 50 | 26.4 | 5
IW-0133 | 22.9 | INS-006 | UPLC | 2026-03-16 | 50 | 0 | 50 | 25.9 | 5
IW-0134 | 24.1 | INS-006 | UPLC | 2026-03-23 | 50 | 0 | 50 | 25.8 | 5
IW-0135 | 23.3 | INS-006 | UPLC | 2026-03-30 | 45 | 0 | 45 | 24.2 | 5
IW-0136 | 26.5 | INS-006 | UPLC | 2026-04-06 | 50 | 0 | 50 | 28.1 | 5
IW-0137 | 24.5 | INS-006 | UPLC | 2026-04-13 | 50 | 0 | 50 | 26 | 5
IW-0138 | 24.9 | INS-006 | UPLC | 2026-04-20 | 50 | 0 | 50 | 25.9 | 5
IW-0139 | 22 | INS-006 | UPLC | 2026-04-27 | 50 | 1.7 | 48.3 | 23.2 | 4
IW-0140 | 24.5 | INS-006 | UPLC | 2026-05-04 | 50 | 0 | 50 | 26.8 | 5
IW-0141 | 21.1 | INS-006 | UPLC | 2026-05-11 | 50 | 1.3 | 48.7 | 23.4 | 4
IW-0142 | 24 | INS-006 | UPLC | 2026-05-18 | 50 | 0 | 50 | 27.3 | 5
IW-0143 | 19.8 | INS-006 | UPLC | 2026-05-25 | 40 | 0 | 40 | 21.9 | 4
IW-0144 | 25.4 | INS-006 | UPLC | 2026-06-01 | 50 | 0.1 | 49.9 | 29 | 5
IW-0145 | 24.8 | INS-006 | UPLC | 2026-06-08 | 50 | 0 | 50 | 28.7 | 5
IW-0146 | 28.8 | INS-006 | UPLC | 2026-06-15 | 50 | 0 | 50 | 30.7 | 6
IW-0147 | 23.2 | INS-006 | UPLC | 2026-06-22 | 50 | 0 | 50 | 26.3 | 5
IW-0148 | 21 | INS-006 | UPLC | 2026-06-29 | 40 | 0 | 40 | 23.5 | 4
IW-0149 | 24 | INS-006 | UPLC | 2026-07-06 | 50 | 0 | 50 | 26.2 | 5
IW-0150 | 25.4 | INS-006 | UPLC | 2026-07-13 | 50 | 0 | 50 | 27.8 | 5
IW-0151 | 26.2 | INS-006 | UPLC | 2026-07-20 | 50 | 0 | 50 | 28.1 | 5
IW-0152 | 27 | INS-006 | UPLC | 2026-07-27 | 50 | 0 | 50 | 28 | 5
IW-0153 | 29.1 | INS-006 | UPLC | 2026-08-03 | 50 | 0 | 50 | 30.7 | 6
IW-0154 | 27.4 | INS-006 | UPLC | 2026-08-10 | 50 | 0 | 50 | 31 | 5
IW-0155 | 26.4 | INS-006 | UPLC | 2026-08-17 | 50 | 0 | 50 | 28.2 | 5
IW-0156 | 27.1 | INS-006 | UPLC | 2026-08-24 | 50 | 0 | 50 | 29.2 | 5
IW-0157 | 23 | INS-007 | plate reader | 2026-03-02 | 50 | 0 | 50 | 24.9 | 16
IW-0158 | 20.4 | INS-007 | plate reader | 2026-03-09 | 50 | 0 | 50 | 23.4 | 15
IW-0159 | 21 | INS-007 | plate reader | 2026-03-16 | 50 | 0 | 50 | 23.2 | 15
IW-0160 | 21.5 | INS-007 | plate reader | 2026-03-23 | 50 | 0.3 | 49.7 | 23.7 | 15
IW-0161 | 18.6 | INS-007 | plate reader | 2026-03-30 | 45 | 0.2 | 44.8 | 21 | 13
IW-0162 | 23.9 | INS-007 | plate reader | 2026-04-06 | 50 | 0 | 50 | 25.6 | 17
IW-0163 | 21.8 | INS-007 | plate reader | 2026-04-13 | 50 | 0 | 50 | 23.5 | 16
IW-0164 | 21.9 | INS-007 | plate reader | 2026-04-20 | 50 | 0 | 50 | 24.5 | 16
IW-0165 | 23.4 | INS-007 | plate reader | 2026-04-27 | 50 | 0 | 50 | 25.3 | 17
IW-0166 | 18.8 | INS-007 | plate reader | 2026-05-04 | 50 | 0 | 50 | 21.6 | 13
IW-0167 | 20.4 | INS-007 | plate reader | 2026-05-11 | 50 | 0 | 50 | 23.5 | 15
IW-0168 | 22.2 | INS-007 | plate reader | 2026-05-18 | 50 | 0.4 | 49.6 | 24 | 16
IW-0169 | 18.6 | INS-007 | plate reader | 2026-05-25 | 40 | 1.1 | 38.9 | 19.3 | 13
IW-0170 | 23.7 | INS-007 | plate reader | 2026-06-01 | 50 | 0 | 50 | 27.5 | 17
IW-0171 | 23 | INS-007 | plate reader | 2026-06-08 | 50 | 0 | 50 | 24.2 | 16
IW-0172 | 24.3 | INS-007 | plate reader | 2026-06-15 | 50 | 0 | 50 | 27.1 | 17
IW-0173 | 24.3 | INS-007 | plate reader | 2026-06-22 | 50 | 2 | 48 | 26 | 17
IW-0174 | 19.4 | INS-007 | plate reader | 2026-06-29 | 40 | 0.5 | 39.5 | 21.4 | 14
IW-0175 | 23.3 | INS-007 | plate reader | 2026-07-06 | 50 | 0 | 50 | 25.6 | 17
IW-0176 | 22.7 | INS-007 | plate reader | 2026-07-13 | 50 | 0 | 50 | 25.7 | 16
IW-0177 | 24.4 | INS-007 | plate reader | 2026-07-20 | 50 | 0 | 50 | 27.5 | 17
IW-0178 | 24.7 | INS-007 | plate reader | 2026-07-27 | 50 | 0 | 50 | 26 | 18
IW-0179 | 22.4 | INS-007 | plate reader | 2026-08-03 | 50 | 0 | 50 | 25.5 | 16
IW-0180 | 20.4 | INS-007 | plate reader | 2026-08-10 | 50 | 0 | 50 | 23.7 | 15
IW-0181 | 23.3 | INS-007 | plate reader | 2026-08-17 | 50 | 0 | 50 | 24.2 | 17
IW-0182 | 26.7 | INS-007 | plate reader | 2026-08-24 | 50 | 0 | 50 | 28.3 | 19
IW-0183 | 21.2 | INS-008 | plate reader | 2026-03-02 | 50 | 0.4 | 49.6 | 24.1 | 15
IW-0184 | 18.7 | INS-008 | plate reader | 2026-03-09 | 50 | 0 | 50 | 21.6 | 13
IW-0185 | 22.6 | INS-008 | plate reader | 2026-03-16 | 50 | 0 | 50 | 23.9 | 16
IW-0186 | 22.5 | INS-008 | plate reader | 2026-03-23 | 50 | 2 | 48 | 23.3 | 16
IW-0187 | 19.8 | INS-008 | plate reader | 2026-03-30 | 45 | 0 | 45 | 21.8 | 14
IW-0188 | 22.5 | INS-008 | plate reader | 2026-04-06 | 50 | 0 | 50 | 23.2 | 16
IW-0189 | 20.4 | INS-008 | plate reader | 2026-04-13 | 50 | 0.4 | 49.6 | 22.8 | 15
IW-0190 | 22.6 | INS-008 | plate reader | 2026-04-20 | 50 | 0 | 50 | 25.3 | 16
IW-0191 | 19.9 | INS-008 | plate reader | 2026-04-27 | 50 | 0 | 50 | 22.8 | 14
IW-0192 | 24.8 | INS-008 | plate reader | 2026-05-04 | 50 | 0 | 50 | 25.6 | 18
IW-0193 | 22.9 | INS-008 | plate reader | 2026-05-11 | 50 | 0 | 50 | 25.6 | 16
IW-0194 | 23 | INS-008 | plate reader | 2026-05-18 | 50 | 0 | 50 | 25.6 | 16
IW-0195 | 18.8 | INS-008 | plate reader | 2026-05-25 | 40 | 0 | 40 | 19.5 | 13
IW-0196 | 24.9 | INS-008 | plate reader | 2026-06-01 | 50 | 0 | 50 | 27.8 | 18
IW-0197 | 22.2 | INS-008 | plate reader | 2026-06-08 | 50 | 0 | 50 | 24.6 | 16
IW-0198 | 22.6 | INS-008 | plate reader | 2026-06-15 | 50 | 0 | 50 | 24.4 | 16
IW-0199 | 25.1 | INS-008 | plate reader | 2026-06-22 | 50 | 0 | 50 | 28 | 18
IW-0200 | 19 | INS-008 | plate reader | 2026-06-29 | 40 | 0.3 | 39.7 | 21.8 | 14
IW-0201 | 23.5 | INS-008 | plate reader | 2026-07-06 | 50 | 0 | 50 | 24.9 | 17
IW-0202 | 23.6 | INS-008 | plate reader | 2026-07-13 | 50 | 0 | 50 | 26.9 | 17
IW-0203 | 23.5 | INS-008 | plate reader | 2026-07-20 | 50 | 2 | 48 | 24.8 | 17
IW-0204 | 22.4 | INS-008 | plate reader | 2026-07-27 | 50 | 0 | 50 | 24.7 | 16
IW-0205 | 26.7 | INS-008 | plate reader | 2026-08-03 | 50 | 0 | 50 | 27.8 | 19
IW-0206 | 23.8 | INS-008 | plate reader | 2026-08-10 | 50 | 2.9 | 47.1 | 25.2 | 17
IW-0207 | 24.2 | INS-008 | plate reader | 2026-08-17 | 50 | 0 | 50 | 25.3 | 17
IW-0208 | 24.2 | INS-008 | plate reader | 2026-08-24 | 50 | 0 | 50 | 26.1 | 17
IW-0209 | 20.7 | INS-009 | plate reader | 2026-03-02 | 50 | 0 | 50 | 23.6 | 15
IW-0210 | 23 | INS-009 | plate reader | 2026-03-09 | 50 | 0.6 | 49.4 | 24.6 | 16
IW-0211 | 23.7 | INS-009 | plate reader | 2026-03-16 | 50 | 0 | 50 | 24.6 | 17
IW-0212 | 19.6 | INS-009 | plate reader | 2026-03-23 | 50 | 0 | 50 | 22.6 | 14
IW-0213 | 20.4 | INS-009 | plate reader | 2026-03-30 | 45 | 0 | 45 | 21.6 | 15
IW-0214 | 21.1 | INS-009 | plate reader | 2026-04-06 | 50 | 0 | 50 | 23.9 | 15
IW-0215 | 20.9 | INS-009 | plate reader | 2026-04-13 | 50 | 0 | 50 | 22.6 | 15
IW-0216 | 19.8 | INS-009 | plate reader | 2026-04-20 | 50 | 0 | 50 | 22.4 | 14
IW-0217 | 22.9 | INS-009 | plate reader | 2026-04-27 | 50 | 0 | 50 | 23.6 | 16
IW-0218 | 23.7 | INS-009 | plate reader | 2026-05-04 | 50 | 0 | 50 | 24.6 | 17
IW-0219 | 23.1 | INS-009 | plate reader | 2026-05-11 | 50 | 0 | 50 | 23.8 | 17
IW-0220 | 21.4 | INS-009 | plate reader | 2026-05-18 | 50 | 2 | 48 | 23.7 | 15
IW-0221 | 17.2 | INS-009 | plate reader | 2026-05-25 | 40 | 0.4 | 39.6 | 19.7 | 12
IW-0222 | 25.8 | INS-009 | plate reader | 2026-06-01 | 50 | 0 | 50 | 27.2 | 18
IW-0223 | 22.3 | INS-009 | plate reader | 2026-06-08 | 50 | 2.9 | 47.1 | 23.5 | 16
IW-0224 | 20.5 | INS-009 | plate reader | 2026-06-15 | 50 | 0 | 50 | 23.7 | 15
IW-0225 | 22.1 | INS-009 | plate reader | 2026-06-22 | 50 | 0 | 50 | 24.8 | 16
IW-0226 | 18.3 | INS-009 | plate reader | 2026-06-29 | 40 | 0 | 40 | 20.5 | 13
IW-0227 | 21.5 | INS-009 | plate reader | 2026-07-06 | 50 | 0 | 50 | 24 | 15
IW-0228 | 21.3 | INS-009 | plate reader | 2026-07-13 | 50 | 0 | 50 | 24 | 15
IW-0229 | 24.3 | INS-009 | plate reader | 2026-07-20 | 50 | 0 | 50 | 28.2 | 17
IW-0230 | 23.5 | INS-009 | plate reader | 2026-07-27 | 50 | 0 | 50 | 27.2 | 17
IW-0231 | 22.9 | INS-009 | plate reader | 2026-08-03 | 50 | 0 | 50 | 23.8 | 16
IW-0232 | 25.6 | INS-009 | plate reader | 2026-08-10 | 50 | 0 | 50 | 27.6 | 18
IW-0233 | 23 | INS-009 | plate reader | 2026-08-17 | 50 | 0 | 50 | 24.7 | 16
IW-0234 | 25.2 | INS-009 | plate reader | 2026-08-24 | 50 | 0 | 50 | 27.6 | 18
IW-0235 | 22.2 | INS-010 | plate reader | 2026-03-02 | 50 | 0 | 50 | 23.3 | 16
IW-0236 | 22.4 | INS-010 | plate reader | 2026-03-09 | 50 | 0 | 50 | 24.6 | 16
IW-0237 | 19.9 | INS-010 | plate reader | 2026-03-16 | 50 | 0 | 50 | 21.7 | 14
IW-0238 | 23.8 | INS-010 | plate reader | 2026-03-23 | 50 | 0 | 50 | 24.7 | 17
IW-0239 | 16.8 | INS-010 | plate reader | 2026-03-30 | 45 | 0 | 45 | 19.3 | 12
IW-0240 | 21 | INS-010 | plate reader | 2026-04-06 | 50 | 0 | 50 | 23.3 | 15
IW-0241 | 19.7 | INS-010 | plate reader | 2026-04-13 | 50 | 0.3 | 49.7 | 21.3 | 14
IW-0242 | 21.8 | INS-010 | plate reader | 2026-04-20 | 50 | 0 | 50 | 24.6 | 16
IW-0243 | 14.9 | INS-010 | plate reader | 2026-04-27 | 50 | 11 | 39 | 17.2 | 11
IW-0244 | 23.4 | INS-010 | plate reader | 2026-05-04 | 50 | 0 | 50 | 24.7 | 17
IW-0245 | 21.4 | INS-010 | plate reader | 2026-05-11 | 50 | 0 | 50 | 22.1 | 15
IW-0246 | 21.2 | INS-010 | plate reader | 2026-05-18 | 50 | 5.4 | 44.6 | 22.3 | 15
IW-0247 | 17.3 | INS-010 | plate reader | 2026-05-25 | 40 | 0.9 | 39.1 | 19.5 | 12
IW-0248 | 25.2 | INS-010 | plate reader | 2026-06-01 | 50 | 0 | 50 | 26.8 | 18
IW-0249 | 23.4 | INS-010 | plate reader | 2026-06-08 | 50 | 0.8 | 49.2 | 24.2 | 17
IW-0250 | 22.5 | INS-010 | plate reader | 2026-06-15 | 50 | 0 | 50 | 24.9 | 16
IW-0251 | 26.1 | INS-010 | plate reader | 2026-06-22 | 50 | 0 | 50 | 27.8 | 19
IW-0252 | 18 | INS-010 | plate reader | 2026-06-29 | 40 | 0.8 | 39.2 | 20.4 | 13
IW-0253 | 24 | INS-010 | plate reader | 2026-07-06 | 50 | 0 | 50 | 24.8 | 17
IW-0254 | 21.9 | INS-010 | plate reader | 2026-07-13 | 50 | 0 | 50 | 23.6 | 16
IW-0255 | 23.4 | INS-010 | plate reader | 2026-07-20 | 50 | 0 | 50 | 24.8 | 17
IW-0256 | 25.4 | INS-010 | plate reader | 2026-07-27 | 50 | 0 | 50 | 27.3 | 18
IW-0257 | 22.4 | INS-010 | plate reader | 2026-08-03 | 50 | 0 | 50 | 25.4 | 16
IW-0258 | 24.7 | INS-010 | plate reader | 2026-08-10 | 50 | 0 | 50 | 27.4 | 18
IW-0259 | 22.4 | INS-010 | plate reader | 2026-08-17 | 50 | 0.7 | 49.3 | 23.9 | 16
IW-0260 | 22.7 | INS-010 | plate reader | 2026-08-24 | 50 | 0 | 50 | 25.8 | 16
IW-0261 | 22.5 | INS-011 | liquid handler | 2026-03-02 | 50 | 2 | 48 | 24.3 | 10
IW-0262 | 26.5 | INS-011 | liquid handler | 2026-03-09 | 50 | 0 | 50 | 28 | 12
IW-0263 | 22.4 | INS-011 | liquid handler | 2026-03-16 | 50 | 0 | 50 | 25.5 | 10
IW-0264 | 23.8 | INS-011 | liquid handler | 2026-03-23 | 50 | 0 | 50 | 27 | 11
IW-0265 | 24.9 | INS-011 | liquid handler | 2026-03-30 | 45 | 0 | 45 | 26.6 | 11
IW-0266 | 25.5 | INS-011 | liquid handler | 2026-04-06 | 50 | 3.6 | 46.4 | 27.4 | 12
IW-0267 | 25.2 | INS-011 | liquid handler | 2026-04-13 | 50 | 0 | 50 | 26.4 | 11
IW-0268 | 22.4 | INS-011 | liquid handler | 2026-04-20 | 50 | 1.8 | 48.2 | 23.9 | 10
IW-0269 | 24 | INS-011 | liquid handler | 2026-04-27 | 50 | 0 | 50 | 26.4 | 11
IW-0270 | 24.9 | INS-011 | liquid handler | 2026-05-04 | 50 | 0 | 50 | 26.8 | 11
IW-0271 | 25.2 | INS-011 | liquid handler | 2026-05-11 | 50 | 0.5 | 49.5 | 27.9 | 11
IW-0272 | 24.7 | INS-011 | liquid handler | 2026-05-18 | 50 | 0.4 | 49.6 | 26.7 | 11
IW-0273 | 19.1 | INS-011 | liquid handler | 2026-05-25 | 40 | 0 | 40 | 21.7 | 9
IW-0274 | 23.6 | INS-011 | liquid handler | 2026-06-01 | 50 | 4.5 | 45.5 | 26.5 | 11
IW-0275 | 28.6 | INS-011 | liquid handler | 2026-06-08 | 50 | 0 | 50 | 30.4 | 13
IW-0276 | 24.7 | INS-011 | liquid handler | 2026-06-15 | 50 | 0 | 50 | 28.5 | 11
IW-0277 | 26.8 | INS-011 | liquid handler | 2026-06-22 | 50 | 5.1 | 44.9 | 29.3 | 12
IW-0278 | 21.6 | INS-011 | liquid handler | 2026-06-29 | 40 | 0 | 40 | 22.6 | 10
IW-0279 | 30.4 | INS-011 | liquid handler | 2026-07-06 | 50 | 0 | 50 | 31.5 | 14
IW-0280 | 30.3 | INS-011 | liquid handler | 2026-07-13 | 50 | 0 | 50 | 32.1 | 14
IW-0281 | 25.8 | INS-011 | liquid handler | 2026-07-20 | 50 | 1.9 | 48.1 | 29.2 | 12
IW-0282 | 27.4 | INS-011 | liquid handler | 2026-07-27 | 50 | 0 | 50 | 30.9 | 12
IW-0283 | 28.2 | INS-011 | liquid handler | 2026-08-03 | 50 | 0 | 50 | 30.4 | 13
IW-0284 | 30.7 | INS-011 | liquid handler | 2026-08-10 | 50 | 0 | 50 | 32.2 | 14
IW-0285 | 26.3 | INS-011 | liquid handler | 2026-08-17 | 50 | 0 | 50 | 28.8 | 12
IW-0286 | 30.6 | INS-011 | liquid handler | 2026-08-24 | 50 | 0 | 50 | 32 | 14
IW-0287 | 22.2 | INS-012 | liquid handler | 2026-03-02 | 50 | 0 | 50 | 24.9 | 10
IW-0288 | 24.9 | INS-012 | liquid handler | 2026-03-09 | 50 | 0 | 50 | 26.8 | 11
IW-0289 | 22.8 | INS-012 | liquid handler | 2026-03-16 | 50 | 0.6 | 49.4 | 26.3 | 10
IW-0290 | 24.7 | INS-012 | liquid handler | 2026-03-23 | 50 | 0 | 50 | 26.3 | 11
IW-0291 | 22 | INS-012 | liquid handler | 2026-03-30 | 45 | 0 | 45 | 23.1 | 10
IW-0292 | 24.3 | INS-012 | liquid handler | 2026-04-06 | 50 | 3.4 | 46.6 | 26.6 | 11
IW-0293 | 23.3 | INS-012 | liquid handler | 2026-04-13 | 50 | 0 | 50 | 26.3 | 11
IW-0294 | 22.9 | INS-012 | liquid handler | 2026-04-20 | 50 | 0.7 | 49.3 | 24.7 | 10
IW-0295 | 27.1 | INS-012 | liquid handler | 2026-04-27 | 50 | 0 | 50 | 28.2 | 12
IW-0296 | 24.6 | INS-012 | liquid handler | 2026-05-04 | 50 | 0.5 | 49.5 | 27.5 | 11
IW-0297 | 24 | INS-012 | liquid handler | 2026-05-11 | 50 | 2.2 | 47.8 | 26.6 | 11
IW-0298 | 24 | INS-012 | liquid handler | 2026-05-18 | 50 | 0 | 50 | 27.4 | 11
IW-0299 | 18.4 | INS-012 | liquid handler | 2026-05-25 | 40 | 0 | 40 | 20.3 | 8
IW-0300 | 27.4 | INS-012 | liquid handler | 2026-06-01 | 50 | 0 | 50 | 31.3 | 12
IW-0301 | 29.8 | INS-012 | liquid handler | 2026-06-08 | 50 | 0 | 50 | 31.8 | 14
IW-0302 | 26.7 | INS-012 | liquid handler | 2026-06-15 | 50 | 0 | 50 | 27.7 | 12
IW-0303 | 25.7 | INS-012 | liquid handler | 2026-06-22 | 50 | 0 | 50 | 29.7 | 12
IW-0304 | 21.1 | INS-012 | liquid handler | 2026-06-29 | 40 | 0 | 40 | 24.4 | 10
IW-0305 | 29 | INS-012 | liquid handler | 2026-07-06 | 50 | 0.8 | 49.2 | 31.8 | 13
IW-0306 | 24.3 | INS-012 | liquid handler | 2026-07-13 | 50 | 0 | 50 | 28.1 | 11
IW-0307 | 26.7 | INS-012 | liquid handler | 2026-07-20 | 50 | 0 | 50 | 30.3 | 12
IW-0308 | 27.9 | INS-012 | liquid handler | 2026-07-27 | 50 | 0 | 50 | 29.4 | 13
IW-0309 | 25.7 | INS-012 | liquid handler | 2026-08-03 | 50 | 0 | 50 | 28.9 | 12
IW-0310 | 28.1 | INS-012 | liquid handler | 2026-08-10 | 50 | 0 | 50 | 29.8 | 13
IW-0311 | 24.7 | INS-012 | liquid handler | 2026-08-17 | 50 | 0 | 50 | 27.7 | 11
IW-0312 | 28.9 | INS-012 | liquid handler | 2026-08-24 | 50 | 0 | 50 | 32.3 | 13
IW-0313 | 22.3 | INS-013 | liquid handler | 2026-03-02 | 50 | 0 | 50 | 25.3 | 10
IW-0314 | 25 | INS-013 | liquid handler | 2026-03-09 | 50 | 0 | 50 | 25.9 | 11
IW-0315 | 24.6 | INS-013 | liquid handler | 2026-03-16 | 50 | 0 | 50 | 25.8 | 11
IW-0316 | 23.1 | INS-013 | liquid handler | 2026-03-23 | 50 | 0 | 50 | 26.1 | 10
IW-0317 | 24.7 | INS-013 | liquid handler | 2026-03-30 | 45 | 0 | 45 | 25.5 | 11
IW-0318 | 26.4 | INS-013 | liquid handler | 2026-04-06 | 50 | 0 | 50 | 28.5 | 12
IW-0319 | 27.2 | INS-013 | liquid handler | 2026-04-13 | 50 | 0 | 50 | 29.5 | 12
IW-0320 | 24.1 | INS-013 | liquid handler | 2026-04-20 | 50 | 0 | 50 | 25.5 | 11
IW-0321 | 22.6 | INS-013 | liquid handler | 2026-04-27 | 50 | 0.7 | 49.3 | 25.2 | 10
IW-0322 | 25.1 | INS-013 | liquid handler | 2026-05-04 | 50 | 1.8 | 48.2 | 26.7 | 11
IW-0323 | 24.6 | INS-013 | liquid handler | 2026-05-11 | 50 | 0 | 50 | 27.3 | 11
IW-0324 | 28.1 | INS-013 | liquid handler | 2026-05-18 | 50 | 0 | 50 | 29.2 | 13
IW-0325 | 20.6 | INS-013 | liquid handler | 2026-05-25 | 40 | 0 | 40 | 22.4 | 9
IW-0326 | 28.6 | INS-013 | liquid handler | 2026-06-01 | 50 | 0 | 50 | 31.7 | 13
IW-0327 | 26.9 | INS-013 | liquid handler | 2026-06-08 | 50 | 0.4 | 49.6 | 27.9 | 12
IW-0328 | 26.9 | INS-013 | liquid handler | 2026-06-15 | 50 | 0 | 50 | 31.2 | 12
IW-0329 | 25.8 | INS-013 | liquid handler | 2026-06-22 | 50 | 0 | 50 | 29.3 | 12
IW-0330 | 21.7 | INS-013 | liquid handler | 2026-06-29 | 40 | 1.2 | 38.8 | 24.4 | 10
IW-0331 | 23.5 | INS-013 | liquid handler | 2026-07-06 | 50 | 7 | 43 | 24.3 | 11
IW-0332 | 25.8 | INS-013 | liquid handler | 2026-07-13 | 50 | 0 | 50 | 29.5 | 12
IW-0333 | 25.2 | INS-013 | liquid handler | 2026-07-20 | 50 | 0.6 | 49.4 | 27.3 | 11
IW-0334 | 28.5 | INS-013 | liquid handler | 2026-07-27 | 50 | 0 | 50 | 29.7 | 13
IW-0335 | 28.6 | INS-013 | liquid handler | 2026-08-03 | 50 | 0 | 50 | 32.2 | 13
IW-0336 | 25.4 | INS-013 | liquid handler | 2026-08-10 | 50 | 0.2 | 49.8 | 29 | 12
IW-0337 | 29.9 | INS-013 | liquid handler | 2026-08-17 | 50 | 0 | 50 | 31 | 14
IW-0338 | 25.6 | INS-013 | liquid handler | 2026-08-24 | 50 | 1.4 | 48.6 | 28.7 | 12
IW-0339 | 16.2 | INS-014 | flow cytometer | 2026-03-02 | 45 | 0.1 | 44.9 | 18.3 | 5
IW-0340 | 18.2 | INS-014 | flow cytometer | 2026-03-09 | 45 | 0 | 45 | 20.6 | 6
IW-0341 | 17.5 | INS-014 | flow cytometer | 2026-03-16 | 45 | 0 | 45 | 18.2 | 6
IW-0342 | 16.4 | INS-014 | flow cytometer | 2026-03-23 | 45 | 0 | 45 | 19 | 5
IW-0343 | 15.3 | INS-014 | flow cytometer | 2026-03-30 | 40.5 | 0 | 40.5 | 17.5 | 5
IW-0344 | 16.3 | INS-014 | flow cytometer | 2026-04-06 | 45 | 1.9 | 43.1 | 17.5 | 5
IW-0345 | 15.9 | INS-014 | flow cytometer | 2026-04-13 | 45 | 0.3 | 44.7 | 17.8 | 5
IW-0346 | 17.1 | INS-014 | flow cytometer | 2026-04-20 | 45 | 0 | 45 | 17.8 | 6
IW-0347 | 12.3 | INS-014 | flow cytometer | 2026-04-27 | 45 | 15.7 | 29.3 | 13.1 | 4
IW-0348 | 19.1 | INS-014 | flow cytometer | 2026-05-04 | 45 | 0.4 | 44.6 | 20.9 | 6
IW-0349 | 16.5 | INS-014 | flow cytometer | 2026-05-11 | 45 | 0 | 45 | 18 | 6
IW-0350 | 17.1 | INS-014 | flow cytometer | 2026-05-18 | 45 | 0 | 45 | 19.6 | 6
IW-0351 | 15.1 | INS-014 | flow cytometer | 2026-05-25 | 36 | 0 | 36 | 15.8 | 5
IW-0352 | 21.8 | INS-014 | flow cytometer | 2026-06-01 | 45 | 0 | 45 | 22.8 | 7
IW-0353 | 19.8 | INS-014 | flow cytometer | 2026-06-08 | 45 | 0 | 45 | 22.8 | 7
IW-0354 | 19.4 | INS-014 | flow cytometer | 2026-06-15 | 45 | 0 | 45 | 21.2 | 6
IW-0355 | 20.3 | INS-014 | flow cytometer | 2026-06-22 | 45 | 0.6 | 44.4 | 22.6 | 7
IW-0356 | 16.3 | INS-014 | flow cytometer | 2026-06-29 | 36 | 0 | 36 | 17 | 5
IW-0357 | 20.1 | INS-014 | flow cytometer | 2026-07-06 | 45 | 0 | 45 | 22.7 | 7
IW-0358 | 21.1 | INS-014 | flow cytometer | 2026-07-13 | 45 | 0.1 | 44.9 | 22.8 | 7
IW-0359 | 19.6 | INS-014 | flow cytometer | 2026-07-20 | 45 | 0 | 45 | 21 | 7
IW-0360 | 20.4 | INS-014 | flow cytometer | 2026-07-27 | 45 | 0 | 45 | 23.2 | 7
IW-0361 | 20.7 | INS-014 | flow cytometer | 2026-08-03 | 45 | 0 | 45 | 23.1 | 7
IW-0362 | 18.1 | INS-014 | flow cytometer | 2026-08-10 | 45 | 0 | 45 | 20.9 | 6
IW-0363 | 19.2 | INS-014 | flow cytometer | 2026-08-17 | 45 | 0 | 45 | 20.5 | 6
IW-0364 | 19.1 | INS-014 | flow cytometer | 2026-08-24 | 45 | 0 | 45 | 21.1 | 6
IW-0365 | 18.3 | INS-015 | automated imager | 2026-03-02 | 45 | 0 | 45 | 21 | 7
IW-0366 | 18.6 | INS-015 | automated imager | 2026-03-09 | 45 | 0 | 45 | 20.4 | 7
IW-0367 | 20.7 | INS-015 | automated imager | 2026-03-16 | 45 | 0 | 45 | 21.6 | 8
IW-0368 | 19.3 | INS-015 | automated imager | 2026-03-23 | 45 | 0 | 45 | 22.3 | 8
IW-0369 | 17.6 | INS-015 | automated imager | 2026-03-30 | 40.5 | 2.3 | 38.2 | 18.4 | 7
IW-0370 | 19 | INS-015 | automated imager | 2026-04-06 | 45 | 0 | 45 | 21.9 | 8
IW-0371 | 22 | INS-015 | automated imager | 2026-04-13 | 45 | 0 | 45 | 23.7 | 9
IW-0372 | 20.1 | INS-015 | automated imager | 2026-04-20 | 45 | 1.2 | 43.8 | 22.5 | 8
IW-0373 | 20.6 | INS-015 | automated imager | 2026-04-27 | 45 | 0 | 45 | 23.7 | 8
IW-0374 | 19.7 | INS-015 | automated imager | 2026-05-04 | 45 | 0 | 45 | 20.4 | 8
IW-0375 | 21 | INS-015 | automated imager | 2026-05-11 | 45 | 0 | 45 | 23.3 | 8
IW-0376 | 21.1 | INS-015 | automated imager | 2026-05-18 | 45 | 1.2 | 43.8 | 22.4 | 8
IW-0377 | 17 | INS-015 | automated imager | 2026-05-25 | 36 | 0 | 36 | 18.2 | 7
IW-0378 | 21.8 | INS-015 | automated imager | 2026-06-01 | 45 | 0 | 45 | 23.1 | 9
IW-0379 | 21.4 | INS-015 | automated imager | 2026-06-08 | 45 | 0 | 45 | 22.3 | 9
IW-0380 | 21.9 | INS-015 | automated imager | 2026-06-15 | 45 | 0 | 45 | 24.3 | 9
IW-0381 | 24.4 | INS-015 | automated imager | 2026-06-22 | 45 | 0 | 45 | 25.3 | 10
IW-0382 | 16.2 | INS-015 | automated imager | 2026-06-29 | 36 | 0.9 | 35.1 | 17.4 | 6
IW-0383 | 23.6 | INS-015 | automated imager | 2026-07-06 | 45 | 0 | 45 | 26.2 | 9
IW-0384 | 22.4 | INS-015 | automated imager | 2026-07-13 | 45 | 0 | 45 | 24.4 | 9
IW-0385 | 20.3 | INS-015 | automated imager | 2026-07-20 | 45 | 3.3 | 41.7 | 23 | 8
IW-0386 | 21.8 | INS-015 | automated imager | 2026-07-27 | 45 | 0 | 45 | 24.6 | 9
IW-0387 | 21.7 | INS-015 | automated imager | 2026-08-03 | 45 | 0 | 45 | 22.6 | 9
IW-0388 | 22.6 | INS-015 | automated imager | 2026-08-10 | 45 | 0.3 | 44.7 | 23.6 | 9
IW-0389 | 20.3 | INS-015 | automated imager | 2026-08-17 | 45 | 1.5 | 43.5 | 22.9 | 8
IW-0390 | 24.1 | INS-015 | automated imager | 2026-08-24 | 45 | 0.9 | 44.1 | 25.7 | 10
IW-0391 | 16.8 | INS-016 | automated imager | 2026-03-02 | 45 | 1.3 | 43.7 | 19.5 | 7
IW-0392 | 20.1 | INS-016 | automated imager | 2026-03-09 | 45 | 2.2 | 42.8 | 22.5 | 8
IW-0393 | 22.5 | INS-016 | automated imager | 2026-03-16 | 45 | 0 | 45 | 23.5 | 9
IW-0394 | 22.2 | INS-016 | automated imager | 2026-03-23 | 45 | 0 | 45 | 23.1 | 9
IW-0395 | 17.4 | INS-016 | automated imager | 2026-03-30 | 40.5 | 0 | 40.5 | 19.2 | 7
IW-0396 | 21.1 | INS-016 | automated imager | 2026-04-06 | 45 | 0 | 45 | 23.2 | 8
IW-0397 | 20.4 | INS-016 | automated imager | 2026-04-13 | 45 | 0 | 45 | 21.9 | 8
IW-0398 | 18.3 | INS-016 | automated imager | 2026-04-20 | 45 | 1.2 | 43.8 | 20.1 | 7
IW-0399 | 19.2 | INS-016 | automated imager | 2026-04-27 | 45 | 1.7 | 43.3 | 21.3 | 8
IW-0400 | 21.8 | INS-016 | automated imager | 2026-05-04 | 45 | 0 | 45 | 23.6 | 9
IW-0401 | 20.2 | INS-016 | automated imager | 2026-05-11 | 45 | 0 | 45 | 23.3 | 8
IW-0402 | 17.8 | INS-016 | automated imager | 2026-05-18 | 45 | 0.6 | 44.4 | 20 | 7
IW-0403 | 15 | INS-016 | automated imager | 2026-05-25 | 36 | 0 | 36 | 17.4 | 6
IW-0404 | 22.1 | INS-016 | automated imager | 2026-06-01 | 45 | 0.7 | 44.3 | 24.2 | 9
IW-0405 | 23.3 | INS-016 | automated imager | 2026-06-08 | 45 | 0 | 45 | 25.1 | 9
IW-0406 | 21.2 | INS-016 | automated imager | 2026-06-15 | 45 | 0 | 45 | 24.1 | 8
IW-0407 | 23.4 | INS-016 | automated imager | 2026-06-22 | 45 | 0.1 | 44.9 | 25.9 | 9
IW-0408 | 16.6 | INS-016 | automated imager | 2026-06-29 | 36 | 0 | 36 | 18.2 | 7
IW-0409 | 23.8 | INS-016 | automated imager | 2026-07-06 | 45 | 0 | 45 | 26.5 | 10
IW-0410 | 24.8 | INS-016 | automated imager | 2026-07-13 | 45 | 0 | 45 | 25.6 | 10
IW-0411 | 20.7 | INS-016 | automated imager | 2026-07-20 | 45 | 0.2 | 44.8 | 23.3 | 8
IW-0412 | 24.3 | INS-016 | automated imager | 2026-07-27 | 45 | 0 | 45 | 25.4 | 10
IW-0413 | 22.1 | INS-016 | automated imager | 2026-08-03 | 45 | 2.5 | 42.5 | 23 | 9
IW-0414 | 19.7 | INS-016 | automated imager | 2026-08-10 | 45 | 0.5 | 44.5 | 22.5 | 8
IW-0415 | 20.8 | INS-016 | automated imager | 2026-08-17 | 45 | 0.6 | 44.4 | 23.9 | 8
IW-0416 | 21.6 | INS-016 | automated imager | 2026-08-24 | 45 | 0 | 45 | 22.6 | 9
IW-0417 | 13.7 | INS-017 | qPCR | 2026-03-02 | 45 | 0 | 45 | 15.7 | 7
IW-0418 | 13.2 | INS-017 | qPCR | 2026-03-09 | 45 | 0 | 45 | 13.9 | 7
IW-0419 | 12.5 | INS-017 | qPCR | 2026-03-16 | 45 | 0 | 45 | 14.4 | 6
IW-0420 | 14.8 | INS-017 | qPCR | 2026-03-23 | 45 | 0.1 | 44.9 | 15.9 | 7
IW-0421 | 13 | INS-017 | qPCR | 2026-03-30 | 40.5 | 0 | 40.5 | 14.5 | 6
IW-0422 | 12.6 | INS-017 | qPCR | 2026-04-06 | 45 | 0 | 45 | 14.4 | 6
IW-0423 | 14.4 | INS-017 | qPCR | 2026-04-13 | 45 | 0 | 45 | 15.2 | 7
IW-0424 | 14.3 | INS-017 | qPCR | 2026-04-20 | 45 | 0 | 45 | 15 | 7
IW-0425 | 14.1 | INS-017 | qPCR | 2026-04-27 | 45 | 0 | 45 | 15.1 | 7
IW-0426 | 12.2 | INS-017 | qPCR | 2026-05-04 | 45 | 0 | 45 | 13.9 | 6
IW-0427 | 14 | INS-017 | qPCR | 2026-05-11 | 45 | 0 | 45 | 15.7 | 7
IW-0428 | 15.4 | INS-017 | qPCR | 2026-05-18 | 45 | 0 | 45 | 16.5 | 8
IW-0429 | 10.5 | INS-017 | qPCR | 2026-05-25 | 36 | 0.6 | 35.4 | 12 | 5
IW-0430 | 15.3 | INS-017 | qPCR | 2026-06-01 | 45 | 0 | 45 | 16.1 | 8
IW-0431 | 14.7 | INS-017 | qPCR | 2026-06-08 | 45 | 0 | 45 | 16.4 | 7
IW-0432 | 13.7 | INS-017 | qPCR | 2026-06-15 | 45 | 0.1 | 44.9 | 15.9 | 7
IW-0433 | 14.2 | INS-017 | qPCR | 2026-06-22 | 45 | 0 | 45 | 16.1 | 7
IW-0434 | 11.1 | INS-017 | qPCR | 2026-06-29 | 36 | 2.9 | 33.1 | 12.2 | 6
IW-0435 | 16.6 | INS-017 | qPCR | 2026-07-06 | 45 | 0.1 | 44.9 | 18.3 | 8
IW-0436 | 14 | INS-017 | qPCR | 2026-07-13 | 45 | 0 | 45 | 15.4 | 7
IW-0437 | 15.4 | INS-017 | qPCR | 2026-07-20 | 45 | 0 | 45 | 16.1 | 8
IW-0438 | 14.9 | INS-017 | qPCR | 2026-07-27 | 45 | 0 | 45 | 16.7 | 7
IW-0439 | 16.1 | INS-017 | qPCR | 2026-08-03 | 45 | 0 | 45 | 17.6 | 8
IW-0440 | 13.8 | INS-017 | qPCR | 2026-08-10 | 45 | 0 | 45 | 15.5 | 7
IW-0441 | 15.7 | INS-017 | qPCR | 2026-08-17 | 45 | 0 | 45 | 17.6 | 8
IW-0442 | 16 | INS-017 | qPCR | 2026-08-24 | 45 | 0 | 45 | 17.7 | 8
IW-0443 | 13.6 | INS-018 | qPCR | 2026-03-02 | 45 | 0 | 45 | 14.7 | 7
IW-0444 | 12.8 | INS-018 | qPCR | 2026-03-09 | 45 | 1.9 | 43.1 | 13.6 | 6
IW-0445 | 12.2 | INS-018 | qPCR | 2026-03-16 | 45 | 0 | 45 | 14.1 | 6
IW-0446 | 14 | INS-018 | qPCR | 2026-03-23 | 45 | 0 | 45 | 16 | 7
IW-0447 | 12.7 | INS-018 | qPCR | 2026-03-30 | 40.5 | 0 | 40.5 | 13.5 | 6
IW-0448 | 12.9 | INS-018 | qPCR | 2026-04-06 | 45 | 2.9 | 42.1 | 14.4 | 6
IW-0449 | 14.1 | INS-018 | qPCR | 2026-04-13 | 45 | 0 | 45 | 15 | 7
IW-0450 | 12.8 | INS-018 | qPCR | 2026-04-20 | 45 | 0 | 45 | 14.5 | 6
IW-0451 | 14.4 | INS-018 | qPCR | 2026-04-27 | 45 | 0 | 45 | 16 | 7
IW-0452 | 13.1 | INS-018 | qPCR | 2026-05-04 | 45 | 0 | 45 | 14 | 7
IW-0453 | 14.6 | INS-018 | qPCR | 2026-05-11 | 45 | 0 | 45 | 15.5 | 7
IW-0454 | 13.9 | INS-018 | qPCR | 2026-05-18 | 45 | 0 | 45 | 14.7 | 7
IW-0455 | 12.1 | INS-018 | qPCR | 2026-05-25 | 36 | 0 | 36 | 12.6 | 6
IW-0456 | 14.3 | INS-018 | qPCR | 2026-06-01 | 45 | 0 | 45 | 15.3 | 7
IW-0457 | 16.2 | INS-018 | qPCR | 2026-06-08 | 45 | 0 | 45 | 17.9 | 8
IW-0458 | 14.2 | INS-018 | qPCR | 2026-06-15 | 45 | 0 | 45 | 16.1 | 7
IW-0459 | 13.9 | INS-018 | qPCR | 2026-06-22 | 45 | 0 | 45 | 16 | 7
IW-0460 | 13 | INS-018 | qPCR | 2026-06-29 | 36 | 0 | 36 | 13.6 | 6
IW-0461 | 15.5 | INS-018 | qPCR | 2026-07-06 | 45 | 0 | 45 | 17.7 | 8
IW-0462 | 17.1 | INS-018 | qPCR | 2026-07-13 | 45 | 0 | 45 | 17.8 | 9
IW-0463 | 16.3 | INS-018 | qPCR | 2026-07-20 | 45 | 0 | 45 | 18.2 | 8
IW-0464 | 15 | INS-018 | qPCR | 2026-07-27 | 45 | 0 | 45 | 16.6 | 8
IW-0465 | 13.5 | INS-018 | qPCR | 2026-08-03 | 45 | 0 | 45 | 15.7 | 7
IW-0466 | 15.3 | INS-018 | qPCR | 2026-08-10 | 45 | 0 | 45 | 17.7 | 8
IW-0467 | 14 | INS-018 | qPCR | 2026-08-17 | 45 | 0 | 45 | 15.5 | 7
IW-0468 | 16.5 | INS-018 | qPCR | 2026-08-24 | 45 | 0 | 45 | 18.1 | 8
IW-0469 | 14.9 | INS-019 | HPLC | 2026-03-02 | 45 | 0 | 45 | 16 | 4
IW-0470 | 16.1 | INS-019 | HPLC | 2026-03-09 | 45 | 0 | 45 | 18.3 | 4
IW-0471 | 15.1 | INS-019 | HPLC | 2026-03-16 | 45 | 0 | 45 | 16.7 | 4
IW-0472 | 16.1 | INS-019 | HPLC | 2026-03-23 | 45 | 1.2 | 43.8 | 17.2 | 4
IW-0473 | 13.2 | INS-019 | HPLC | 2026-03-30 | 40.5 | 0 | 40.5 | 15.3 | 3
IW-0474 | 16.3 | INS-019 | HPLC | 2026-04-06 | 45 | 0 | 45 | 17.7 | 4
IW-0475 | 15.7 | INS-019 | HPLC | 2026-04-13 | 45 | 0 | 45 | 16.5 | 4
IW-0476 | 15.3 | INS-019 | HPLC | 2026-04-20 | 45 | 0.2 | 44.8 | 15.9 | 4
IW-0477 | 15.8 | INS-019 | HPLC | 2026-04-27 | 45 | 0 | 45 | 18.3 | 4
IW-0478 | 15.7 | INS-019 | HPLC | 2026-05-04 | 45 | 0 | 45 | 17.4 | 4
IW-0479 | 15.6 | INS-019 | HPLC | 2026-05-11 | 45 | 0 | 45 | 16.4 | 4
IW-0480 | 16.2 | INS-019 | HPLC | 2026-05-18 | 45 | 0 | 45 | 18.4 | 4
IW-0481 | 13.1 | INS-019 | HPLC | 2026-05-25 | 36 | 0 | 36 | 13.9 | 3
IW-0482 | 16.2 | INS-019 | HPLC | 2026-06-01 | 45 | 1.1 | 43.9 | 18.1 | 4
IW-0483 | 15.7 | INS-019 | HPLC | 2026-06-08 | 45 | 0 | 45 | 17.6 | 4
IW-0484 | 18.8 | INS-019 | HPLC | 2026-06-15 | 45 | 0 | 45 | 19.5 | 5
IW-0485 | 17.8 | INS-019 | HPLC | 2026-06-22 | 45 | 0.5 | 44.5 | 19 | 4
IW-0486 | 12.7 | INS-019 | HPLC | 2026-06-29 | 36 | 0 | 36 | 14.5 | 3
IW-0487 | 19.7 | INS-019 | HPLC | 2026-07-06 | 45 | 0 | 45 | 20.3 | 5
IW-0488 | 16 | INS-019 | HPLC | 2026-07-13 | 45 | 0 | 45 | 18.6 | 4
IW-0489 | 18.3 | INS-019 | HPLC | 2026-07-20 | 45 | 0 | 45 | 19.4 | 5
IW-0490 | 18.1 | INS-019 | HPLC | 2026-07-27 | 45 | 0 | 45 | 18.8 | 5
IW-0491 | 17.2 | INS-019 | HPLC | 2026-08-03 | 45 | 0 | 45 | 18.9 | 4
IW-0492 | 18.4 | INS-019 | HPLC | 2026-08-10 | 45 | 0 | 45 | 20.2 | 5
IW-0493 | 17.6 | INS-019 | HPLC | 2026-08-17 | 45 | 0 | 45 | 20.3 | 4
IW-0494 | 18.8 | INS-019 | HPLC | 2026-08-24 | 45 | 0 | 45 | 20.4 | 5
IW-0495 | 14.6 | INS-020 | HPLC | 2026-03-02 | 45 | 0.4 | 44.6 | 15.3 | 4
IW-0496 | 15.4 | INS-020 | HPLC | 2026-03-09 | 45 | 0 | 45 | 16.3 | 4
IW-0497 | 15.6 | INS-020 | HPLC | 2026-03-16 | 45 | 0 | 45 | 16.2 | 4
IW-0498 | 17.2 | INS-020 | HPLC | 2026-03-23 | 45 | 0.3 | 44.7 | 17.9 | 4
IW-0499 | 13.7 | INS-020 | HPLC | 2026-03-30 | 40.5 | 0 | 40.5 | 15.5 | 3
IW-0500 | 14.9 | INS-020 | HPLC | 2026-04-06 | 45 | 0 | 45 | 15.5 | 4
IW-0501 | 17.5 | INS-020 | HPLC | 2026-04-13 | 45 | 0 | 45 | 18.4 | 4
IW-0502 | 15.6 | INS-020 | HPLC | 2026-04-20 | 45 | 0.7 | 44.3 | 16.2 | 4
IW-0503 | 16.7 | INS-020 | HPLC | 2026-04-27 | 45 | 0 | 45 | 17.7 | 4
IW-0504 | 14.4 | INS-020 | HPLC | 2026-05-04 | 45 | 0 | 45 | 16.4 | 4
IW-0505 | 17.4 | INS-020 | HPLC | 2026-05-11 | 45 | 0 | 45 | 18.3 | 4
IW-0506 | 15.1 | INS-020 | HPLC | 2026-05-18 | 45 | 0 | 45 | 16 | 4
IW-0507 | 13.2 | INS-020 | HPLC | 2026-05-25 | 36 | 0 | 36 | 14.5 | 3
IW-0508 | 19.5 | INS-020 | HPLC | 2026-06-01 | 45 | 0 | 45 | 20.2 | 5
IW-0509 | 18.5 | INS-020 | HPLC | 2026-06-08 | 45 | 0 | 45 | 20.2 | 5
IW-0510 | 16.5 | INS-020 | HPLC | 2026-06-15 | 45 | 1.5 | 43.5 | 18.8 | 4
IW-0511 | 17.1 | INS-020 | HPLC | 2026-06-22 | 45 | 0 | 45 | 18.2 | 4
IW-0512 | 11.9 | INS-020 | HPLC | 2026-06-29 | 36 | 1.5 | 34.5 | 13.4 | 3
IW-0513 | 17.1 | INS-020 | HPLC | 2026-07-06 | 45 | 0.5 | 44.5 | 18.2 | 4
IW-0514 | 17 | INS-020 | HPLC | 2026-07-13 | 45 | 0 | 45 | 17.9 | 4
IW-0515 | 16.9 | INS-020 | HPLC | 2026-07-20 | 45 | 1.9 | 43.1 | 17.8 | 4
IW-0516 | 15.8 | INS-020 | HPLC | 2026-07-27 | 45 | 0 | 45 | 18 | 4
IW-0517 | 16 | INS-020 | HPLC | 2026-08-03 | 45 | 0 | 45 | 18.3 | 4
IW-0518 | 17.1 | INS-020 | HPLC | 2026-08-10 | 45 | 0 | 45 | 18.6 | 4
IW-0519 | 18.8 | INS-020 | HPLC | 2026-08-17 | 45 | 0 | 45 | 20.1 | 5
IW-0520 | 17.8 | INS-020 | HPLC | 2026-08-24 | 45 | 0 | 45 | 19.1 | 4